## Sheet1
Preliminary Switchboard Design Drawing Generator Questionnaire
Refer to PRO826 - Procedure for use of Urban Utilities Switchboard Design Drawing Templates The information gathered from this form is used as inputs into the UU Drawing Generator Application to generate a site-specific electrical drawing set for a Sewage Pump Station or Water Booster site. NOTE: All questions in each of the sections are required to be answered to proceed to the next section and complete the form.
Company Name:
Design Engineer Name:
Design Engineer Email Address
Date of Form Completion
Section 1 - Preliminary Project Information
Question | Answer
Please provide Project name?
Please provide Site ID. E.g, SP010, WB172 etc.
Please provide site address
What type of site is this? E.g., SPS or WB
Is this a greenfield or brownfield site?
Section 2 - Civil Site Information
Question | Answer
Does the site have a Dry Well?
Does the site require a Building? E.g., Dry Well Building or Switchroom?
Does the site have Manhole Surcharge? ** Default value in application is no**
No. of Pumps?
Size of Pumps? (kW)
Does the site require an Auxiliary Pit Sump Pump?
Section 3 - Site, Pump, and Motor Electrical Information
Question | Answer
Expected Fault Level? E.g., Greater than 15kA or less than 15kA?
Type of Metering? E.g., CT Metering (detached or integral to the switchboard) or Direct Metering (detached or integral to the switchboard). **Default selection in application is Direct Metering**
Name of Pump Manufacturer?
What is the Pump Model No.?
What type of Motor Protection is included? e.g., MiniCAS, MIS & Bearing Temperature, Moisture in Stator Only.
Type of Motor Starting? E.g., Soft Starter, VSD, or DOL? **If not Soft Starter then state reason why not.
Size of motor starters? E.g., SoftStarters Less than 55kW or 55kW - 90kW? VSDs less than 37kW or 37kW - 55kW?
Are the motor starters internal or external to the switchboard? E.g., VSDs or SoftStarters on a building wall or inside the switchboard?
What type of motor connection and isolation is required? E.g., Integrated Disconnect Cubicle, Direct Connection Starter, Switchboard Decontactors, Field Disconnect Box (decontactors or busbar). ** Default selection in application is Switchboard Decontactors**
Is pump interlocking required? If required please detail e.g., 1 pump on Generator supply only or 1 pump on Mains & Generator supply etc.
Is an auxiliary Phase Failure relay required?
Does the site require Harmonic Filtering ?
Section 4 - Instrumentation/Control Information
Question | Answer
Does the site require the installation of a Field Instrument Box?
Does the site require a Flowmeter?
Does the site require a Pressure Transmitter (Direct Fed, or Disconnect Box)? ** Default value in application is Yes, Direct Fed**
Does the site require Chemical Dosing? **Default value in application is no**
Has the communications survey determined if a radio and/or 4G connection available at the site? (e.g., 4G comms, or Dual 4G comms with radio)
Does the switchboard have a detached or integrated Mast & Antenna?
Designer to send completed form to: DevelopmentEnquiries@urbanutilities.com.au
Template ID: TEM797 revision 1 Template Owner: Craig Moir